PWTAG Code of Practice for Swimming Pool Water - Managing Health and Safety in Swimming Pools (HSG179)
November 17, 2016

6.5 Heating and air circulation
This pool maintains the following temperatures

| Pool use | Temp range (°C) |
| --- | --- |
| Competitive swimming, fitness swimming, training | 26-28 |
| Recreational swimming and adult teaching | 27-29 |
| Leisure waters | 28-30 |
| Children’s teaching | 29-31 |
| Babies, young children, disabled and infirm | 30-32 |

6.6 Pool hall air
The pool hall air temperatures are maintained at no more than 1deg C above or below that of the water temperature. Air temperatures over 30°C are not permitted.

Relative humidity is maintained at a level of 60% (no less than 50%, no more than 70%) throughout the pool hall area.

Ventilation systems are designed and operated to provide a level of fresh air for each occupant of the pool hall (bathers, staff and spectators).